Example Compliance List for Premises

(Not all items apply to all premises – it is dependent on the facilities available)

| Asbestos – all non-domestic premises | Date |
| --- | --- |
| Survey of premises done? |  |
| Management Plan in place |  |
| Regular inspection made: Qtly / 6 monthly / Annually (choose) – Next due? |  |
| Completed? |  |
| Water |  |
| L8 Risk Assessment Survey: (every two years) Last carried out |  |
| Next due |  |
| Regular Monitoring: Weekly flush of showers and outlets |  |
| Monthly – check of temperatures |  |
| Quarterly – clean & de-scale shower heads |  |
| Annual – inspection of cold water storage tanks |  |
| Fire |  |
| Fire Risk Assessment – review annually |  |
| Annual – fire extinguisher service |  |
| Every Term – evacuation practice with all users |  |
| Weekly – Alarm testing carried out (if fitted) |  |
| Quarterly – Alarm servicing (if fitted) |  |
| Electrical |  |
| 5 yearly – Fixed Installation Testing: carried out Next due - |  |
| Annual – portable appliance testing (PAT) – regular visual inspection of leads & plugs |  |
| Emergency lighting tests carried out Monthly – 10 minute ‘flick’ test 6 monthly – 30 minute test (competent person) Annually – full drain down test (competent person) |  |
| Gas |  |
| Bulk LPG annual check |  |
| Annual – Heating installations, service and check boilers |  |
| Annual – Catering installations, service and check cookers |  |
| Subject to regular checks – Replace gas hoses on portable cooking equipment in accordance with manufacturer’s recommendations. |  |
| Safe storage of gas cylinders |  |

This list is not exhaustive, but should help to give a firm starting point for creating a safer Scout premises